| Vessel: |  |  |  |  | Date: |  | Time completed: |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location: |  |  |  |  | Client: |  |  |  |
| A - General |  |  |  |  | Yes/No | Comments |  |  |
| All machinery spaces been checked? |  |  |  |  |  |  |  |  |
| Communications with Bridge been checked? |  |  |  |  |  |  |  |  |
| UMAS Printer available and operational? |  |  |  |  |  |  |  |  |
| PMS and AMCS clear of alarm conditions? |  |  |  |  |  |  |  |  |
| B - Main Engines |  |  |  |  | Yes/No | Comments |  |  |
| Diesel Generator 1 On-Line? |  |  |  |  |  |  |  |  |
| Diesel Generator 2 On-Line? |  |  |  |  |  |  |  |  |
| Shaft Generator 1 On-Line? |  |  |  |  |  |  |  |  |
| Shaft Generator 2 On-Line? |  |  |  |  |  |  |  |  |
| Main Engine Pre-Lube Pumps in Auto Position? |  |  |  |  |  |  |  |  |
| C - Tunnel Thrusters |  |  |  |  | Yes/No | Comments |  |  |
| CPP Pre-Lube Pumps in Auto Position? |  |  |  |  |  |  |  |  |
| Portside Pumps |  |  |  |  |  |  |  |  |
| Starboard Pumps |  |  |  |  |  |  |  |  |
| Thruster Seal Header Tank levels normal? |  |  |  |  |  |  |  |  |
| BT 1 |  |  |  |  |  |  |  |  |
| BT 2 |  |  |  |  |  |  |  |  |
| ST 1 |  |  |  |  |  |  |  |  |
| ST 2 |  |  |  |  |  |  |  |  |
| D - Power |  |  |  |  | Yes/No | Comments |  |  |
| MSB Tie-Breaker Open? |  |  |  |  |  |  |  |  |
| Emergency Generator in Auto Start position? |  |  |  |  |  |  |  |  |
| 24v System, charger and UPS healthy? |  |  |  |  |  |  |  |  |
| E - Ancillary Systems |  |  |  |  | Yes/No | Comments |  |  |
| CW FW Header Tank Levels (Liters) |  |  |  |  |  |  |  |  |
| CW FW Pump 1 | Run | □ | Stand-by | □ |  |  |  |  |
| CW FW Pump 2 | Run | □ | Stand-by | □ |  |  |  |  |
| CW SW Pump 1 | Run | □ | Stand-by | □ |  |  |  |  |
| CW SW Pump 2 | Run | □ | Stand-by | □ |  |  |  |  |
| F - Fuel System |  |  |  |  | Yes/No | Comments |  |  |
| Daily Service Tank Cross connection valves shut? |  |  |  |  |  |  |  |  |
| Emergency Generator Fuel Tank level? |  |  |  |  |  |  |  |  |
| G - Summary |  |  |  |  | Yes/No | Comments |  |  |
| All Checks and Tests performed. All found in satisfactory condition. |  |  |  |  |  |  |  |  |
| H - Completed by (EOW Name) |  |  |  |  |  | Rank |  | Signature |